{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["一次エネ（共通）"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":1,"comments":1,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"一次エネ（共通）","index":0,"n_rows":35,"n_cols":39,"rows_kept":35,"cut":false,"hidden":false,"merged":[[30,31,30,32],[31,7,34,9],[31,10,31,13],[31,15,31,23],[32,10,32,13],[33,10,33,13],[33,15,33,23],[34,10,34,13],[29,7,30,9],[29,10,30,13],[29,15,29,23],[30,15,30,24],[25,15,25,23],[26,10,26,13],[26,15,26,23],[27,10,27,13],[23,7,28,9],[23,10,24,13],[23,15,23,23],[24,16,24,29],[24,31,24,32],[25,10,25,13],[27,15,27,23],[28,10,28,13],[28,15,28,23],[19,7,22,9],[19,10,20,13],[19,15,19,23],[19,34,19,37],[20,15,20,26],[20,31,20,32],[20,34,20,37],[21,10,21,13],[21,15,21,23],[21,34,21,37],[22,10,22,13],[22,15,22,30],[22,31,22,32],[15,4,15,6],[15,7,18,9],[15,10,16,13],[15,15,15,23],[15,34,15,37],[16,4,16,6],[16,16,16,29],[16,31,16,32],[16,34,16,37],[17,4,17,6],[17,10,18,13],[17,15,17,23],[17,34,17,37],[18,4,18,6],[18,16,18,29],[18,31,18,32],[18,34,18,37],[10,4,10,6],[10,7,14,9],[10,10,11,13],[10,15,10,18],[10,34,10,37],[11,4,11,6],[11,15,11,22],[11,34,11,37],[12,4,12,6],[12,10,14,13],[12,15,12,23],[12,34,12,37],[13,4,13,6],[13,34,13,37],[8,4,8,6],[8,10,8,13],[8,14,8,19],[8,21,8,32],[9,4,9,6],[9,14,9,19],[9,21,9,32],[5,7,9,9],[6,15,6,22],[7,4,7,6],[7,10,7,13],[7,14,7,19],[7,21,7,32],[6,10,6,13],[7,34,7,37],[5,2,5,3],[6,4,6,6],[5,10,5,13],[6,34,6,37],[3,38,3,40],[4,0,4,3],[4,4,4,6],[4,15,4,26],[4,38,4,40],[5,4,5,6],[5,15,5,18],[5,34,5,37],[5,38,5,40],[3,0,3,3],[3,4,3,6],[3,7,3,13],[3,15,3,24],[2,10,2,13],[2,14,2,32],[2,33,2,37],[2,38,2,40],[0,0,0,40],[1,0,1,3],[1,4,1,6],[1,7,2,9],[1,10,1,37],[1,38,1,40],[2,0,2,3],[2,4,2,6]]}
["設計内容説明書【一戸建ての住宅用（共通）】"]
["性能表示",null,null,null,"自己評価",null,null,"確認項目",null,null,"設 計 内 容 説 明 欄",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"設計内容"]
["事項",null,null,null,"結果",null,null,null,null,null,"項目",null,null,null,"設 計 内 容",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"記 載 図 書",null,null,null,null,"確認欄"]
["一次ｴﾈﾙ",null,null,null,"等級",null,null,"認     定     書     等",null,null,null,null,null,null,"□","認定書等（品確法）の活用（住宅）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"評価員"]
["ｷﾞｰ消費量等級",null,null,null,null,null,null,null,null,null,null,null,null,null,"□","認定書等（品確法）の活用（住宅の部分）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"記入欄"]
["（",null,"）地域",null,null,null,null,"基本的\n事項等",null,null,"適用する",null,null,null,"□","性能基準",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","仕上表",null,null,null,"□"]
[null,null,null,null,null,null,null,null,null,null,"基準",null,null,null,"□","仕様基準（等級４のみ）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","仕様書"]
[null,null,null,null,null,null,null,null,null,null,"居室および",null,null,null,"床面積の合計",null,null,null,null,null,"□","Webプログラム出力票による",null,null,null,null,null,null,null,null,null,null,null,"□","面積表"]
[null,null,null,null,null,null,null,null,null,null,"非居室の面積",null,null,null,"主居室の面積",null,null,null,null,null,"□","Webプログラム出力票による",null,null,null,null,null,null,null,null,null,null,null,"□"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"その他の居室の面積",null,null,null,null,null,"□","Webプログラム出力票による"]
[null,null,null,null,null,null,null,"外皮",null,null,"適用する基準",null,null,null,"□","性能基準",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","仕上表"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","仕様基準（等級４のみ）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","仕様書"]
[null,null,null,null,null,null,null,null,null,null,"断熱性能等",null,null,null,"□","Webプログラム出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","平面図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□"]
[]
[null,null,null,null,null,null,null,"暖冷房",null,null,"暖房方式",null,null,null,"□","Webプログラム出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","仕上表"]
[null,null,null,null,"※1",null,null,null,null,null,null,null,null,null,"□","（",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"）","※1",null,"□","仕様書"]
[null,null,null,null,"仕様基準",null,null,null,null,null,"冷房方式",null,null,null,"□","Webプログラム出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","平面図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","（",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"）","※1",null,"□","機器表"]
[null,null,null,null,null,null,null,"換気",null,null,"換気設備方式",null,null,null,"□","Webプログラム出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","系統図"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","全般換気設備（比消費電力0.3以下）",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"※1",null,"□"]
[null,null,null,null,null,null,null,null,null,null,"熱交換型",null,null,null,"□","Webプログラム出力票による",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□"]
[null,null,null,null,null,null,null,null,null,null,"換気設備",null,null,null,"□","比消費電力を有効換気量率で除した値が0.3以下",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"※1"]
[null,null,null,null,null,null,null,"給湯",null,null,"給湯熱源機",null,null,null,"□","Webプログラム出力票による"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","（",null,null,null,null,null,null,null,null,null,null,null,null,null,null,"）","※1"]
[null,null,null,null,null,null,null,null,null,null,"配管",null,null,null,"□","Webプログラム出力票による"]
[null,null,null,null,null,null,null,null,null,null,"水栓",null,null,null,"□","Webプログラム出力票による"]
[null,null,null,null,null,null,null,null,null,null,"浴槽",null,null,null,"□","Webプログラム出力票による"]
[null,null,null,null,null,null,null,null,null,null,"太陽給湯",null,null,null,"□","Webプログラム出力票による"]
[null,null,null,null,null,null,null,"照明",null,null,"照明器具",null,null,null,"□","Webプログラム出力票による"]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,"□","非居室に白熱灯を採用していない",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"※1"]
[null,null,null,null,null,null,null,"発電",null,null,"太陽光発電",null,null,null,"□","Webプログラム出力票による"]
[null,null,null,null,null,null,null,null,null,null,"の採用"]
[null,null,null,null,null,null,null,null,null,null,"ｺｰｼﾞｪﾈﾚｰ",null,null,null,"□","Webプログラム出力票による"]
[null,null,null,null,null,null,null,null,null,null,"ｼｮﾝｼｽﾃﾑ"]